## Slide 1: Development of a Hydrogel Extruder By Simon Craig Daniel
Photo by Stefan Els
Notes: Picture placeholder slide layout
To change the picture:
Select the picture by clicking on it near the bottom of the slide (under the title placeholder), then click on the Picture Format tab.
Click on the Change Picture icon and choose the From a File/This Device… option.
Browse and select a picture and click on the Insert button.
Use the Crop command to adjust the image.
Click on the Crop command again to apply the changes.
Remember to add image attributions to photographs or artworks.

## Slide 2: Background to Bioprinting
Applications
Fabricating tissue scaffolds for regenerative medicine
Creating 3D environments to study cell growth and disease progression in biomedical research
Serves as a calibration tool for characterizing bioinks
Challenge
To design a hydrogel printing system (mainly for GelMA) that maintains:
Precision
Controllable extrusion
Integrated curing
Photo by CELLINK

## Slide 3: Mechanical System Design
Extruder (with custom syringe with force and temperature feedback)
3DOF Gantry (Bed-slinger)
Peltier module for bed cooling
UV light for permanent curing

## Slide 4: Embedded System Design
Stepper breakout modules (StepStick driver)
MOSFETS for switching power peripherals (Peltier, heater cartridge, etc.)
Load cell amplifier circuit (HX711)
Thermocouple amplifier circuit with MUX for multiple thermocouple readings (MAX6675)
EEPROM and MicroSD for memory management

## Slide 5: Experimental Design
Stepper breakout modules (StepStick driver)
MOSFETS for switching power peripherals (Peltier, heater cartridge, etc.)
Load cell amplifier circuit (HX711)
Thermocouple amplifier circuit with MUX for multiple thermocouple readings (MAX6675)
EEPROM and MicroSD for memory management

## Slide 6: Results
What has been done?
Literature review has been conducted
Mechanical and electronic designs are complete
Mechanical parts have been source
Sourced parts have been assembled
Custom part’s mechanical drawings have been prepared and sent to the workshop and Fabrinox
PCB has been ordered
Firmware development has started

## Slide 7: Future Work
What has been done?
Literature review has been conducted
Mechanical and electronic designs are complete
Mechanical parts have been source
Sourced parts have been assembled
Custom part’s mechanical drawings have been prepared and sent to the workshop and Fabrinox
PCB has been ordered
Firmware development has started

## Slide 8: Conclusion
The remaining mechanical assembly work must be finished once the custom parts arrive
The remaining electronics components need to be sourced
The PCB needs to be populated upon arrival
Firmware development must continue until completion
Experimental procedure must be established and conducted on the system with a testing surrogate
All results must be documented in a final report
What still needs to be done?

## Slide 9: Thank you Enkosi Dankie
Photo by Stefan Els
Notes: Cover/End slide layout
To change the picture:
Select the picture by clicking on it near the bottom of the slide (under the title placeholder), then click on the Picture Format tab.
Click on the Change Picture icon and choose the From a File/This Device… option.
Browse and select a picture and click on the Insert button.
Use the Crop command to adjust the image.
Click on the Crop command again to apply the changes.
Remember to add image attributions to photographs or artworks.